May 12, 2005

# Counter Settings Ortek 994 Dual Counter/Timer for TPC

W1   (  (  (        Live Time/ Normal Measurement Mode

W2   (  (  (

W3   (  (  (         Counts/Time Source Ch. A

W4   (  (  (         Time/Counts Source Ch. B

(    -

W5   (                Input A polarity  (“-“ selected)

(    +

W6   (  (  (         -/+ Input B polarity (“-“ selected)